Argo Technical Parameter Naming Convention

Revised 30/4/2015

All questions regarding the technical tables should be directed to Ann Thresher at Ann.Thresher@csiro.au or the Argo Data Management Team. Questions regarding the Configuration names should be directed to either Esmee Van Wijk Esmee.vanwijk@csiro.au (core mission parameters) or Catherine Schmechtig schmechtig@obs-vlfr.fr (Bio configuration parameters).

The latest version of this description, and all other files cited here, should be found at: http://www.argodatamgt.org/Documentation

First a warning:  Technical files have in the past been filled with variables and parameters that are not really technical data. This included drift parameters that belonged in the trajectory files. We have now decided that there will be no duplication between technical and trajectory files – all drift and technical data must appear in the correct place.  As a result, tech files that contain this data will now be rejected by the format checker.  Similarly, configuration variables belong in the metadata files and will not be accepted in tech files.

Furthermore, in order to standardize the file contents for technical files and make them easier to use for various analyses, we have developed rules for the construction of the technical parameter names reported in the tech.nc files held at the Argo GDACs. Standardizing names will make the job of using these files simpler. This will lead to benefits in float failure analyses and statistical analysis of the performance of the Argo array.

These same naming conventions have been applied to the new CONFIG parameter names used in the metadata files to identify mission settings.  Those tables are found elsewhere on the Argo Data Management web page.

We wish to thank Vito Dirita for devising the naming scheme and both Vito and Serge Le Reste for their input to the original version of this document.

As already noted, we are now enforcing the standardisation agreed upon. Any technical name that has not been approved cannot be used. Those files will be rejected by the new format checker.  So if you need a new name to cover a new technical parameter, you must email ann.thresher@csiro.au with your request, including a suggested name if you can derive one using the rules (see below) and, most important, a CLEAR definition. Once a name is approved (and this shouldn’t take very long), it can be used for new variables and by others who deploy the same types of floats. The tables will be maintained so please check for the latest version on-line at the link cited above.

We are also enforcing standardization for the units attached to the technical parameter names. These approved units can be found on the same web page as the Technical parameter names spreadsheet and is listed as “Technical parameter units”.  Whenever possible, we have used SI units. If these do not exist, we have used conventional notation.

Units listed within the Technical parameter names table are there as an example only!

Many variables can take different units depending on the data processing or source (dbar, bar, cbar, inHg… or COUNT, volts, etc). For example, if you convert a voltage from counts, then the unit is ‘volts’.  If you do not do this conversion, then the correct unit is ‘COUNT’.  Do not worry if the units you need are not listed in the Technical parameter names table – as long as they are on the table of Technical parameter units, you can use them.

The construction rules are:

Technical Parameter Names consist of fields arranged in a hierarchy; all fields are delimited by “_” (underscore); blank characters are invalid:

<Category field>_<Descriptor field>_<Unit field>

- The Category (first) field:

  - It is always WHAT IS MEASURED (VOLTAGE, PRESSURE, TIME, etc). PRES (water depth) is distinguished from PRESSURE (an engineering variable).  Configuration data now belongs in the metadata file and will not be accepted in the tech files.  Diagnostic values or flags are identified as such in the table.

  - It should be in CAPS.

- The descriptor field:

  - It holds modifiers telling WHEN or WHERE the variable is measured (SURFACE, PUMP, BATTERY, etc).

  - It is of mixed case to make it more readable.

  - We have attempted to make names unambiguous but they must be used as intended – Don’t confuse CURRENT (electrical measurement) with NOW (measurement of time), distinguish between CLOCK (decimal hours) and TIME (how long something lasted) and don’t use BOTTOM or DRIFT if you mean PROFILE or PARK.

- The unit field:

  - The units may be of mixed case but should conform to the Units table.

  - UNITS are standard with the following rules, and are defined in the Units table

    - Units Preceded by lowercase ‘d’ refer to deci (10-1) ex: dbar

    - Units Preceded by lowercase ‘c’ refer to centi (10-2) ex: csec

    - Units preceded by lowercase ‘m’ refer to milli (10-3) ex: msec, mbar, mdegC, mA, mmol/L etc

    - Units preceded by lowercase ‘u’ refer to micro (10-6) ex: usec, umol/L  etc

  - Variables must be converted from counts if possible – counts are meaningless from an engineering perspective.

- The full parameter name must fit into 128 characters

- All names will be defined in the relevant table – the latest version will be available on the web. If a name does not exist, it will not be accepted by the new format checker.

- We decided not to exclude anything reported by the floats. This does not mean you must report everything but you may if you wish.  This means longer technical files but also will reduce reprocessing as we realize a variable we thought unimportant becomes vital to diagnosing a problem.